## Bovine
REGULATORY PROGRAMME FOR CONTROL OF RESIDUES IN FOOD
COUNTRY |  | URUGUAY |  |  |  | DATE | 2016-12-01
YEAR OF PLAN IMPLEMENTATION |  | 01/01/2017 - 31/12/2017
ANIMAL SPECIES / PRODUCT |  | BOVINE
National PRODUCTION DATA - number of animals (referring to the previous year) |  | 2200000
PRODUCTION DATA for calculation of SAMPLE NUMBERS. (Number of animals (referring to previous year's production) |  | 2200000
NUMBER OF SAMPLES |  | ACCORDING TO EU REQUIREMENTS |  |  |  | ACCORDING TO CODEX ALIMENTARIUS | OTHER
MINIMUM |  | 8800
PLAN |  | 9106
GROUP OF SUBSTANCES TO BE MONITORED |  | NUMBER OF SAMPLES |  |  |  | COMPOUND or MARKER RESIDUE | MATRIX ANALYSED | SCREENING METHOD | CONFIRMATORY METHOD | SCREEN.METH. DETECTION LIMIT [μg/Kg] | CONFIR.METH. DETECTION LIMIT [μg/Kg] | LEVEL OF ACTION (i.e. conceentration above which a result is deemed non-compliant) [μg/Kg] | LABORATORY NAME
|  | FARM | SLAUGHTER | TOTAL | TOTAL
|  | MIN | MIN | MIN | PLAN
A1 | STILBENES | 458.3333 | 458.3333 | 916.6667 | 917 | DES | URINE/LIVER |  | GC/ MS |  | 0.57 | 1
[6 empty] | HEXOESTROL | URINE |  | GC/ MS |  | 0.58 | 1 | DILAVE (COMENT:detection limit= CCalfa)
[6 empty] | DIENOESTROL | URINE |  | GC/ MS |  | 0.65 | 1
A2 | THYROSTATS | 458.3333 | 458.3333 | 916.6667 | 459
[6 empty] | METILTIURACIL | THYROID |  | HPLC/MS-MS |  | 2.3 | 10 | XENOBIOTICOS (COMENT:detection limit= CCalfa)
[6 empty] | PROPILTIURACIL | THYROID |  | HPLC/MS-MS |  | 1.3 | 10
[6 empty] | TIOURACIL | THYROID |  | HPLC/MS-MS |  | 2.3 | 10
[6 empty] | FENILTURACIL | THYROID |  | HPLC/MS-MS |  | 2 | 10
[6 empty] | TAPAZOL | THYROID |  | HPLC/MS-MS |  | 1 | 10
A3 | STEROIDS (WITH ANDROGENIC, ESTROGENIC OR PROGESTAGENIC ACTIVITY) | 458.3333 | 458.3333 | 916.6667 | 917
[6 empty] | NORTESTOSTERONA | URINE |  | GC/MS - HPLC/MSMS | 1.9 | 0.7 | 2 | DILAVE (COMENT:detection limit= CCalfa)
[6 empty] | TREMBOLONA | URINE | ELISA | HPLC/MSMS | 2 | 0.66 | 2
[6 empty] | BOLDENONA (30 SAMPLES) * | URINE |  | HPLC/MSMS |  |  | 2
[6 empty] | METYLTESTOSTERONA *** | [5 empty] | ** | DILAVE
[6 empty] | ACETATO DE MELENGESTROL *** | [5 empty] | **
A4 | RESORCYLIC ACID LACTONES | 458.3333 | 458.3333 | 916.6667 | 917
[6 empty] | ZERANOL | URINE | GC/MS | GC/MS | 0.84 | 0.84 | 1 | DILAVE (COMENT:detection limit= CCalfa)
A5 | BETA AGONISTS | 458.3333 | 458.3333 | 916.6667 | 917
[6 empty] | ZILPATEROL (30SAMPLES) ** | URINE |  | HPLC/MS-MS |  |  | ** | DILAVE
DILAVE (COMENT:detection limit= CCalfa)
[6 empty] | CLEMBUTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[6 empty] | SALBUTAMOL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[6 empty] | RACTOPAMINA | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[6 empty] | MABUTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[6 empty] | SINBUTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[6 empty] | TERBUTALINE | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[6 empty] | BROMBUTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[6 empty] | CLENPENTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[6 empty] | TULOBUTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[6 empty] | MAPENTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
A6 | e.g. Chloramphenicol + Nitrofurans+ Nitroimidazoles | 458.3333 | 458.3333 | 916.6667 | 917
| Chloramphenicol |  |  |  | 320 | CHLORAMFENICOL | MUSCLE | ELISA | HPLC/MS-MS | 0.25 | 0.05 | 0.3 | DILAVE
| Other A6 substances |  |  |  | 317 | NITROFURANOS Y SUS METABOLITOS | MUSCLE |  | HPLC/MS-MS |  | 0.5 | 1 | DILAVE (COMENT:detection limit= CCalfa)
[6 empty] | SEM | MUSCLE |  | HPLC/MS-MS |  | 0.5 | 1
[6 empty] | AOZ | MUSCLE |  | HPLC/MS-MS |  | 0.5 | 1
[6 empty] | AMOZ | MUSCLE |  | HPLC/MS-MS |  | 0.5 | 1
[6 empty] | AHD | MUSCLE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | 280 | NITROIMIDAZOLES | MUSCLE |  | HPLC/MS-MS |  | 0.5 | 1 | MICROBIOTICOS
[6 empty] | DIMETRIDAZOL | MUSCLE |  | HPLC/MS-MS |  | 0.5 | 1
[6 empty] | RONIDAZOL | MUSCLE |  | HPLC/MS-MS |  | 0.5 | 1
[6 empty] | METRONIDAZOL Y METABOLITOS | MUSCLE |  | HPLC/MS-MS |  | 0.5 | 1
GROUP OF SUBSTANCES TO BE MONITORED |  | NUMBER OF SAMPLES |  |  |  | COMPOUND or MARKER RESIDUE | MATRIX ANALYSED | SCREENING METHOD | CONFIRMATORY METHOD | SCREEN.METH. DETECTION LIMIT [μg/Kg] | CONFIR.METH. DETECTION LIMIT [μg/Kg] | LEVEL OF ACTION (i.e. conceentration above which a result is deemed non-compliant) [μg/Kg] | LABORATORY NAME
|  | MIN | PLAN
B1 | ANTIBACTERIAL SUBSTANCES | 1320 | 1450 | 600 | [8 empty] | DILAVE
[6 empty] | TILMICOSIN | K. L. | SWAB/TEST |  | 1000 |  | 1000 (L, K)
[6 empty] | ERITOMICINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 50 | 10 | 200 (M)
[6 empty] | TYLOSIN | K. L. M. | SWAB/TEST | HPLC/MS-MS | 50 | 10 | 100 (M)
[6 empty] | SPIRAMICYN | K. L. M. | SWAB/TEST | HPLC/MS-MS | 50 | 10 | 200 (M)
[6 empty] | NEOMICINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 250 | 10 | 500 (M)
[6 empty] | GENTAMICINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 100 | 10 | 100 (M)
[6 empty] | ESTREPTOMICINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 100 | 10 | 500 (M)
[6 empty] | PENICILINA V | K. L. M. | SWAB/TEST | HPLC/MS-MS | 12.5 | 20 | 50 (M)
[6 empty] | PENICILINA G | K. L. M. | SWAB/TEST | HPLC/MS-MS | 12.5 | 10 | 50 (M)
[6 empty] | CLOXACILLIN | K. L. M. | SWAB/TEST | HPLC/MS-MS | 12.5 | 20 | 300 (M)
[6 empty] | CEPHALEXIN | K. L. M. | SWAB/TEST | HPLC/MS-MS | 12.5 | 40 | 200 (M)
[6 empty] | AMPICILINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 12.5 | 10 | 50 (M)
[6 empty] | AMOXICILINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 12.5 | 10 | 50 (M)
[6 empty] | OXYTETRACICLINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 80 | 10 | 100 (M)
[6 empty] | CLORTETRACICLINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 80 | 10 | 100 (M)
[6 empty] | TETRACICLINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 80 | 10 | 100 (M)
500
[6 empty] | CIPROFLOXACINA-ENROFLOXACINA | MUSCLE |  | HPLC/MS-MS |  | 10 | 115 | DILAVE
[6 empty] | NORFLOXACINA | MUSCLE |  | HPLC/MS-MS |  | 5 | 10
[6 empty] | DANOFLOXACINA | MUSCLE |  | HPLC/MS-MS |  | 10 | 224
[6 empty] | MARBOFLOXACINA | MUSCLE |  | HPLC/MS-MS |  | 10 | 177
[6 empty] | FLUMEQUINA | MUSCLE |  | HPLC/MS-MS |  | 10 | 233
320
[6 empty] | SULFADIAZINA | LIVER |  | HPLC/MS-MS |  | 25 | 100 | MICROBIOTICOS
[6 empty] | SULFATIAZOL | LIVER |  | HPLC/MS-MS |  | 25 | 100
[6 empty] | SULFAMERAZINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
[6 empty] | SULFAMETAZINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
[6 empty] | SULFACLORPIRIDAZINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
[6 empty] | SULFADOXINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
[6 empty] | SULFAMETOXAZOL | LIVER |  | HPLC/MS-MS |  | 25 | 100
[6 empty] | SULFADIMETOXINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
[6 empty] | SULFAQUINOXALINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
|  |  |  | 30 |  | CARBADOX-OLAQUINDOX | MUSCLE |  | HPLC/MS-MS |  | 2.5 | 5 | MICROBIOTICOS
B2a + B2b + B2c + B2d + B2e |  | 1650 | 1770
B2a | ANTHELMINTICS |  | 960
|  |  |  | 70 |  | CLOSANTEL | MUSCLE |  | HPLC/MSMS |  | 125 | 1000 | MICROBIOTICOS
|  |  |  | 30 |  | NITROXINIL | MUSCLE |  | HPLC/MSMS |  | 100 | 400
|  |  |  | 30 |  | LEVAMISOL | MUSCLE |  | HPLC/MSMS |  | 1 | 10
|  |  |  | 30 |  | RAFOXANIDA | MUSCLE |  | HPLC/MSMS |  | 3.75 | 30
|  |  |  | 600 |  | IVERMECTINA | LIVER |  | HPLC/FLD |  | 8 | 108 | DILAVE (COMENT:level of action= CCalfa)
[6 empty] | DORAMECTINA | LIVER |  | HPLC/FLD |  | 6 | 108
[6 empty] | MOXIDECTIN | LIVER |  | HPLC/FLD |  | 6 | 115
[6 empty] | ABAMECTINA | LIVER |  | HPLC/FLD |  | 8 | 111
|  |  |  | 200 | [8 empty] | MICROBIOTICOS
[6 empty] | OXIFENDAZOL | LIVER |  | HPLC/MSMS |  | 25 | 25
[6 empty] | ALBENDAZOL | LIVER |  | HPLC/MSMS |  | 125 | 1000
[6 empty] | FEMBENDAZOL / FEMBENDAZOL SULFONA | LIVER |  | HPLC/MSMS |  | 25 | 500
[6 empty] | MEBENDAZOL | LIVER |  | HPLC/MSMS |  | 12.5 | 12.5
[6 empty] | OXFENDAZOL | LIVER |  | HPLC/MSMS |  | 25 | 500
[6 empty] | TRICLABENDAZOL | LIVER |  | HPLC/MSMS |  | 62.5 | 250
B2b | ANTICOCCIDIALS |  | 100
|  |  |  | 100 |  | MONENSINA | LIVER |  | HPLC/DAD |  | 1.78 | 20 | XENOBIOTICOS
[6 empty] | SALINOMICINA | LIVER |  | HPLC/DAD |  | 1.86 | 20
[6 empty] | NARACINA | LIVER |  | HPLC/DAD |  | 2.15 | 10
B2c | CARBAMATES |  | 30
|  |  |  | 30 |  | ALDICARB SULFONA | MUSCLE |  | HPLC/FLD |  | 1.19 | 10 | XENOBIOTICOS
[6 empty] | ALDICARB SULFOXIDO | MUSCLE |  | HPLC/FLD |  | 0.8 | 10
[6 empty] | ALDICARB | MUSCLE |  | HPLC/FLD |  | 1.1 | 10
[6 empty] | 3 OH CARBOFURAN | MUSCLE |  | HPLC/FLD |  | 1.2 | 10
[6 empty] | CARBOFURAN | MUSCLE |  | HPLC/FLD |  | 1.4 | 10
[6 empty] | CARBARYL | MUSCLE |  | HPLC/FLD |  | 1 | 50
| PYRETHROIDS |  | 200
DILAVE (COMENT:level of action= CCalfa)
|  |  |  | 200 |  | CIPERMETRINA | FAT |  | GC/ECD |  | 15 | 200
[6 empty] | PERMETRINA | FAT |  | GC/ECD |  | 10 | 100
[6 empty] | DELTAMETRINA | FAT |  | GC/ECD |  | 20 | 50
B2d | SEDATIVES |  | 100 | 100 |  | XILACINA | KIDNEY |  | HPLC/DAD |  | 4.9 | 10 | XENOBIOTICOS
[6 empty] | CLORPROMACINA | KIDNEY |  | HPLC/DAD |  | 3.4 | 10
[6 empty] | AZAPERONA | KIDNEY |  | HPLC/DAD |  | 3.8 | 10
[6 empty] | ACEPROMACINA | KIDNEY |  | HPLC/DAD |  | 6.6 | 10
[6 empty] | AZAPEROL | KIDNEY |  | HPLC/DAD |  | 3.5 | 10
B2e | NON STEROIDAL ANTI-INFLAMMATORY DRUGS |  | 100
|  |  |  | 40 |  | FENILBUTAZONA/OXIFENILBUTAZON HIDRAT | MUSCLE |  | HPLC/MSMS |  | <5 | 10 | MICROBIOTICOS
|  |  |  | 30 |  | FLUNIXIN-5 HIDROXYFLUNIXIN | MUSCLE |  | HPLC/MSMS |  | <5 | 20
|  |  |  | 30 |  | DICLOFENAC | MUSCLE |  | HPLC/MSMS |  | 0.4 | 5
(COMENT:level of action= CCalfa)
B2f | Other pharmacologically active subs |  | 310
|  |  |  | 30 |  | CORTICOIDES
[6 empty] | DEXAMETHASONE | LIVER |  | HPLC-MS/MS |  | 0.12 | 2 | XENOBIOTICOS (COMENT:level of action= CCalfa)
[6 empty] | BETAMETHASONE | LIVER |  | HPLC-MS/MS |  | 0.11 | 2
[6 empty] | PREDNISOLONE | LIVER |  | HPLC-MS/MS |  | 0.28 | 10
[6 empty] | METILPREDNISOLONE | LIVER |  | HPLC-MS/MS |  | 0.38 | 10
|  |  |  | 250 |  | FIPRONIL Y FIPRONIL SULFONA | LIVER |  | GC/ECD |  | 5 | 15 | DILAVE
|  |  |  | 30 |  | AMITRAZ | LIVER |  | HPLC/MSMS |  |  |  | XENOBIOTICOS
GROUP OF SUBSTANCES TO BE MONITORED |  | NUMBER OF SAMPLES |  |  |  | COMPOUND or MARKER RESIDUE | MATRIX ANALYSED | SCREENING METHOD | CONFIRMATORY METHOD | SCREEN.METH. DETECTION LIMIT [μg/Kg] | CONFIR.METH. DETECTION LIMIT [μg/Kg] | LEVEL OF ACTION (i.e. conceentration above which a result is deemed non-compliant) [μg/Kg] | LABORATORY NAME
|  | MIN | PLAN
B3a + B3b + B3c + B3d |  | 330 | 1000
B3a | ORGANOCHLORINE COMPOUNDS INCLUDING PCBS |  | 300 |  |  | HCB | FAT |  | GC/ECD |  | 10 | 200 | DILAVE (COMENT:level of action= CCalfa)
[6 empty] | HCH α | FAT |  | GC/ECD |  | 10 | 200
[6 empty] | HCH β | FAT |  | GC/ECD |  | 10 | 100
[6 empty] | LINDANO | FAT |  | GC/ECD |  | 10 | 20
[6 empty] | ALDRIN | FAT |  | GC/ECD |  | 5 | 200
[6 empty] | DDT y metab. | FAT |  | GC/ECD |  | 10 | 1000
[6 empty] | DIELDRIN | FAT |  | GC/ECD |  | 10 | 200
[6 empty] | ENDRIN | FAT |  | GC/ECD |  | 10 | 50
[6 empty] | HEPTACLOR | FAT |  | GC/ECD |  | 10 | 200
[6 empty] | HEPTACLOR epox. | FAT |  | GC/ECD |  | 10 | 200
[6 empty] | ENDOSULFAN | FAT |  | GC/ECD |  | 10 | 50
[6 empty] | ENDOSULFAN SO4 | FAT |  | GC/ECD |  | 10 | 50
[6 empty] | CLORDANO cis-trans | FAT |  | GC/ECD |  | 10 | 50
[6 empty] | PCB 28 | FAT |  | GC/ECD |  | 50 | 200
[6 empty] | PCB 52 | FAT |  | GC/ECD |  | 50 | 200
[6 empty] | PCB 101 | FAT |  | GC/ECD |  | 50 | 200
[6 empty] | PCB 118 | FAT |  | GC/ECD |  | 50 | 200
[6 empty] | PCB 138 | FAT |  | GC/ECD |  | 50 | 200
[6 empty] | PCB 153 | FAT |  | GC/ECD |  | 50 | 200
[6 empty] | PCB 180 | FAT |  | GC/ECD |  | 50 | 200
B3b | ORGANOPHOSPHORUS COMPOUNDS |  | 400
[6 empty] | ETHION | FAT |  | HPLC/MS-MS |  | 0.5 | 10 | DILAVE
[6 empty] | DIAZINON | FAT |  | HPLC/MS-MS |  | 5 | 500
[6 empty] | CHLORPIRIFOS | FAT |  | HPLC/MS-MS |  | 5 | 10
[6 empty] | METIL PARATION | FAT |  | HPLC/MS-MS |  | 30 | 30
[6 empty] | PARATION (etil) | FAT |  | HPLC/MS-MS |  | 15 | 50
[6 empty] | PYRIMIPHOS METIL | FAT |  | HPLC/MS-MS |  | 5 | 10
[6 empty] | CHLORPIRIFOS METIL | FAT |  | HPLC/MS-MS |  | 15 | 50
[6 empty] | ACEPHATE | FAT |  | HPLC/MS-MS |  | 10 | 20
[6 empty] | AZINPHOS METIL | FAT |  | HPLC/MS-MS |  | 10 | 10
[6 empty] | DIMETHOATE | FAT |  | HPLC/MS-MS |  | 5 | 10
[6 empty] | MALATHION | FAT |  | HPLC/MS-MS |  | 2 | 20
[6 empty] | MALAOXON | FAT |  | HPLC/MS-MS |  | 2 | 20
[6 empty] | FENTHION | FAT |  | HPLC/MS-MS |  | 10 | 50
[6 empty] | PHOSMET | FAT |  | HPLC/MS-MS |  | 15 | 100
[6 empty] | COUMAPHOS | FAT |  | HPLC/MS-MS |  | 2 | 10
B3c | CHEMICAL ELEMENTS |  | 300
[6 empty] | PLOMO | K. L. M. |  | AAS |  | 50 | 500(K) | DILAVE (COMENT:level of action= CCalfa)
[6 empty] | CADMIO | K. L. M. |  | AAS |  | 100 | 1050(K)
[6 empty] | ARSENICO | K. L. M. |  | AAS |  | 10 | 2012 (L)
[6 empty] | MERCURIO | K. L. M. |  | AAS |  | 160 | 580 (L)
Check calculation of total of minimums
8800
* SE TRABAJA EN LA VALIDACIÓN DE LA TÉCNICA , ESTARA PRONTA EN EL CORRER DEL PRIMER SEMESTRE DEL AÑO 2017.
** DEBIDO A QUE NO SE PUDO INCLUIR LA SUSTANCIA EN EL METODO MULTIRESIDUO, SE DESARROLLARA NUEVA TECNICA PARA EL 2º SEMESTRE DEL AÑO 2017
*** SE ESTA EN PROCESO DE ADQUISICIÓN DE LOS ESTANDARES PARA LUEGO COMENZAR EL DESARROLLO DE LA TECNICA
The minimum number of animals to be checked each year for all kinds of residues and substances must at least equal 0,4 % of the bovines slaughtered the previous year, with the following breakdown:
Group A: 0,25 % divided as follows:
- one half of the samples are to be taken from live animals on the holding; (by derogation, 25 % of samples analysed for the research of Group A 5 substances can be taken from appropriate material (feedingstuffs, drinking water, etc.))
- one half of the samples are to be taken at the slaughterhouse.
• Each sub-group in Group A must be checked each year using a minimum of 5 % of the total number of samples to be collected for Group A.
• The balance must be allocated according to the experience and background information of the country.
Group B: 0,15 % divided as follows:
30 % of the samples must be checked for Group B 1 substances.
30 % of the samples must be checked for Group B 2 substances.
10 % of the samples must be checked for Group B 3 substances.
The balance must be allocated according to the situation of the country.
In order to facilitate this breakdown and ensure that the correct number of samples are tested, the spreadsheet has made the following calculations which distributes the balance of samples between each of the (sub) groups in the following way: - Of the samples to be tested for in Groups A1 - A6, one sixth of the total Group A samples are allocated to each subgroup with half being taken on-farm and half at slaughterhouse. - Of the samples to be tested for Group B, 40% of these have been allocated to Group B1, 50% to Group B2 and 10% to Group B3.

## Ovine
REGULATORY PROGRAMME FOR CONTROL OF RESIDUES IN FOOD
COUNTRY |  | URUGUAY |  |  |  |  | DATE | 2016-12-01
YEAR OF PLAN IMPLEMENTATION |  | 2017
ANIMAL SPECIES / PRODUCT |  | OVINE
National production data - number of animals (referring to the previous year) |  | 860000
PRODUCTION DATA for calculation of SAMPLE NUMBERS. (Number of animals (referring to previous year's production) |  | 860000
NUMBER OF SAMPLES |  | ACCORDING TO EU REQUIREMENTS |  |  | ACCORDING TO CODEX ALIMENTARIUS | OTHER
MINIMUM |  | 430
PLAN |  | 585
GROUP OF SUBSTANCES TO BE MONITORED |  | NUMBER OF SAMPLES |  |  | COMPOUND or MARKER RESIDUE | MATRIX ANALYSED | SCREENING METHOD | CONFIRMATORY METHOD | SCREEN.METH. DETECTION LIMIT [μg/Kg] | CONFIR.METH. DETECTION LIMIT [μg/Kg] | LEVEL OF ACTION (i.e. conceentration above which a result is deemed non-compliant) [μg/Kg] | LABORATORY NAME
|  | MIN | PLAN
A1 | STILBENES | 14.3333 | 15 |  | DES | URINE/LIVER |  | GC/ MS |  | 0.57 | 1 | DILAVE
[5 empty] | HEXOESTROL | URINE |  | GC/ MS |  | 0.58 | 1
[5 empty] | DIENOESTROL | URINE |  | GC/ MS |  | 0.65 | 1
A2 | THYROSTATS | 14.3333 | 15 |  | METILTIURACIL | MUSCLE |  | HPLC/MS-MS |  | 2.3 | 10 | XENOBIOTICOS
[5 empty] | PROPILTIURACIL | MUSCLE |  | HPLC/MS-MS |  | 1.3 | 10
[5 empty] | TIOURACIL | MUSCLE |  | HPLC/MS-MS |  | 2.3 | 10
[5 empty] | FENILTURACIL | MUSCLE |  | HPLC/MS-MS |  | 2 | 10
[5 empty] | TAPAZOL | MUSCLE |  | HPLC/MS-MS |  | 1 | 10
A3 | STEROIDS (WITH ANDROGENIC, ESTROGENIC OR PROGESTAGENIC ACTIVITY) | 14.3333 | 15
[5 empty] | NORTESTOSTERONA | URINE |  | GC/MS- HPLC/MSMS | 1.9 | 0.7 | 2 | DILAVE
[5 empty] | TREMBOLONA | URINE | ELISA | HPLC/MSMS | 2 | 0.68 | 2
A4 | RESORCYLIC ACID LACTONES | 14.3333 | 15
[5 empty] | ZERANOL | URINE | GC/MS | GC/MS | 0.84 | 0.84 | 1 | DILAVE
A5 | BETA AGONISTS | 14.3333 | 15
[5 empty] | CLEMBUTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1 | DILAVE
[5 empty] | SALBUTAMOL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | RACTOPAMINA | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | MABUTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | SINBUTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | TERBUTALINE | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | BROMBUTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | CLENPENTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | TULOBUTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | MAPENTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
A6 | e.g. Chloramphenicol + Nitrofurans+ Nitroimidazoles | 14.3333 | 35
| Chloramphenicol |  | 10 |  | CHLORAMFENICOL | MUSCLE | ELISA | HPLC/ MS/MS | 0.25 | 0.05 | 0.3 | DILAVE
| Nitroimidazoles |  | 15 |  | NITROIMIDAZOLES | MUSCLE |  | HPLC/ MS/MS |  | 0.5 | 1 | MICROBIOTICOS
[5 empty] | DIMETRIDAZOL | MUSCLE |  | HPLC/ MS/MS |  | 0.5 | 1
[5 empty] | RONIDAZOL | MUSCLE |  | HPLC/ MS/MS |  | 0.5 | 1
[5 empty] | METRONIDAZOL Y METABOLITOS | MUSCLE |  | HPLC/ MS/MS |  | 0.5 | 1
|  |  | 10 |  | NITROFURANOS Y SUS METABOLITOS | MUSCLE |  | HPLC/MS-MS |  | 0.5 | 1 | DILAVE
[5 empty] | SEM | MUSCLE |  | HPLC/MS-MS |  | 0.5 | 1
| Nitrofurans |  |  |  | AOZ | MUSCLE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | AMOZ | MUSCLE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | AHD | MUSCLE |  | HPLC/MS-MS |  | 0.5 | 1
GROUP OF SUBSTANCES TO BE MONITORED |  | NUMBER OF SAMPLES |  |  | COMPOUND or MARKER RESIDUE | MATRIX ANALYSED | SCREENING METHOD | CONFIRMATORY METHOD | SCREEN.METH. DETECTION LIMIT [μg/Kg] | CONFIR.METH. DETECTION LIMIT [μg/Kg] | LEVEL OF ACTION (i.e. conceentration above which a result is deemed non-compliant) [μg/Kg] | LABORATORY NAME
|  | MIN | PLAN
B1 | ANTIBACTERIAL SUBSTANCES | 137.6 | 150 | 90
[5 empty] | TILMICOSIN | K. L. | SWAB/TEST |  | 1000 |  | 1000 (L, K) | DILAVE
[5 empty] | ERITOMICINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 50 | 10 | 200 (M)
[5 empty] | TYLOSIN | K. L. M. | SWAB/TEST | HPLC/MS-MS | 50 | 10 | 100 (M)
[5 empty] | SPIRAMICYN | K. L. M. | SWAB/TEST | HPLC/MS-MS | 50 | 10 | 200 (M)
[5 empty] | NEOMICINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 250 | 10 | 500 (M)
[5 empty] | GENTAMICINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 100 | 10 | 100 (M)
[5 empty] | ESTREPTOMICINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 100 | 10 | 500 (M)
[5 empty] | PENICILINA V | K. L. M. | SWAB/TEST | HPLC/MS-MS | 12.5 | 20 | 50 (M)
[5 empty] | PENICILINA G | K. L. M. | SWAB/TEST | HPLC/MS-MS | 12.5 | 10 | 50 (M)
[5 empty] | CLOXACILLIN | K. L. M. | SWAB/TEST | HPLC/MS-MS | 12.5 | 20 | 300 (M)
[5 empty] | CEPHALEXIN | K. L. M. | SWAB/TEST | HPLC/MS-MS | 12.5 | 40 | 200 (M)
[5 empty] | AMPICILINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 12.5 | 10 | 50 (M)
[5 empty] | AMOXICILINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 12.5 | 10 | 50 (M)
[5 empty] | OXYTETRACICLINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 80 | 10 | 100 (M)
[5 empty] | CLORTETRACICLINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 80 | 10 | 100 (M)
[5 empty] | TETRACICLINA | K. L. M. | SWAB/TEST | HPLC/MS-MS | 80 | 10 | 100 (M)
|  |  |  | 30 | CIPROFLOXACINA-ENROFLOXACINA | MUSCLE |  | HPLC/MS-MS |  | 10 | 115 | DILAVE (COMENT:level of action= CCalfa)
[5 empty] | NORFLOXACINA | MUSCLE |  | HPLC/MS-MS |  | 5 | 10
[5 empty] | DANOFLOXACINA | MUSCLE |  | HPLC/MS-MS |  | 10 | 224
[5 empty] | MARBOFLOXACINA | MUSCLE |  | HPLC/MS-MS |  | 10 | 177
[5 empty] | FLUMEQUINA | MUSCLE |  | HPLC/MS-MS |  | 10 | 233
|  |  |  | 30 | SULFADIAZINA | LIVER |  | HPLC/MS-MS |  | 25 | 100 | MICROBIOTICOS
[5 empty] | SULFATIAZOL | LIVER |  | HPLC/MS-MS |  | 25 | 100
[5 empty] | SULFAMERAZINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
[5 empty] | SULFAMETAZINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
[5 empty] | SULFACLORPIRIDAZINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
[5 empty] | SULFADOXINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
[5 empty] | SULFAMETOXAZOL | LIVER |  | HPLC/MS-MS |  | 25 | 100
[5 empty] | SULFADIMETOXINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
[5 empty] | SULFAQUINOXALINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
B2a + B2b + B2c + B2d + B2e |  | 172 | 300
B2a | ANTHELMINTICS |  | 170 | 45 | CLOSANTEL | MUSCLE |  | HPLC/MSMS |  | 125 | 1500 | MICROBIOTICOS
|  |  |  | 25 | NITROXINIL | MUSCLE |  | HPLC/MSMS |  | 100 | 400
|  |  |  | 20 | LEVAMISOL | MUSCLE |  | HPLC/MSMS |  | 2.5 | 10
|  |  |  | 35 | RAFOXANIDA | MUSCLE |  | HPLC/MSMS |  | 12.5 | 100
|  |  |  | 30 | IVERMECTINA | LIVER |  | HPLC/FLD |  | 8 | 108 | DILAVE (COMENT:level of action= CCalfa)
[5 empty] | DORAMECTINA | LIVER |  | HPLC/FLD |  | 6 | 108
[5 empty] | MOXIDECTIN | LIVER |  | HPLC/FLD |  | 6 | 115
[5 empty] | ABAMECTINA | LIVER |  | HPLC/FLD |  | 8 | 111
15
[5 empty] | OXIFENDAZOL | LIVER |  | HPLC/MSMS |  | 25 | 25 | MICROBIOTICOS
[5 empty] | ALBENDAZOL | LIVER |  | HPLC/MSMS |  | 125 | 1000
[5 empty] | FEMBENDAZOL / FEBENDAZOL SULFONA | LIVER |  | HPLC/MSMS |  | 25 | 500
[5 empty] | MEBENDAZOL | LIVER |  | HPLC/MSMS |  | 12.5 | 400
[5 empty] | OXFENDAZOL | LIVER |  | HPLC/MSMS |  | 25 | 500
[5 empty] | TRICLABENDAZOL | LIVER |  | HPLC/MSMS |  | 62.5 | 250
B2b | ANTICOCCIDIALS |  | 30
|  |  |  | 30 | MONENSINA | LIVER |  | HPLC / DAD |  | 1.78 | 20 | XENOBIOTICOS
[5 empty] | SALINOMICINA | LIVER |  | HPLC / DAD |  | 1.86 | 20
[5 empty] | NARACINA | LIVER |  | HPLC / DAD |  | 2.15 | 10
B2c | CARBAMATES |  | 30 | 30 | ALDICARB SULFONA | MUSCLE |  | HPLC/FLD |  | 1.2 | 10 | XENOBIOTICOS
[5 empty] | ALDIDICARB SULFOXIDO | MUSCLE |  | HPLC/FLD |  | 0.8 | 10
[5 empty] | ALDICARB | MUSCLE |  | HPLC/FLD |  | 1.1 | 10
[5 empty] | 3 OH CARBOFURAN | MUSCLE |  | HPLC/FLD |  | 1.2 | 10
[5 empty] | CARBOFURAN | MUSCLE |  | HPLC/FLD |  | 1.4 | 10
[5 empty] | CARBARYL | MUSCLE |  | HPLC/FLD |  | 1 | 50
| PYRETROIDS |  | 15
|  |  |  | 15 | CIPERMETRINA | FAT |  | GC/ ECD |  | 15 | 200 | DILAVE
[5 empty] | PERMETRINA | FAT |  | GC/ ECD |  | 10 | 100
[5 empty] | DELTAMETRINA | FAT |  | GC/ ECD |  | 20 | 50
B2d | SEDATIVES |  | 15 | 15 | XILASIN | KIDNEY |  | HPLC/DAD |  | 4.87 | 10 | XENOBIOTICOS
[5 empty] | CLORPROMACIN | KIDNEY |  | HPLC/DAD |  | 3.38 | 10
[5 empty] | AZAPERONE | KIDNEY |  | HPLC/DAD |  | 3.8 | 10
[5 empty] | ACEPROMACIN | KIDNEY |  | HPLC/DAD |  | 6.61 | 10
[5 empty] | AZAPEROL | KIDNEY |  | HPLC/DAD |  | 3.53 | 10
B2e | NON STEROIDAL ANTI-INFLAMMATORY DRUGS |  | 30
|  |  |  | 10 | FENILBUTAZONA - OXYPHENBUTAZON HYDRAT | MUSCLE |  | HPLC/MSMS |  | <5 | 10 | MICROBIOTICOS
|  |  |  | 10 | FLUNIXIN, 5-HYDROXYFLUNIXIN | MUSCLE |  | HPLC/MSMS |  | <5 | 10
|  |  |  | 10 | DICLOFENAC | MUSCLE |  | HPLC/MSMS |  | 0.4 | 5
B2f | Other pharmacologically active subs |  | 10 | 10 | FIPRONIL-FIPRONIL SULFONA | LIVER |  | GC/ECD |  | 5 | 15 | DILAVE
GROUP OF SUBSTANCES TO BE MONITORED |  | NUMBER OF SAMPLES |  |  | COMPOUND or MARKER RESIDUE | MATRIX ANALYSED | SCREENING METHOD | CONFIRMATORY METHOD | SCREEN.METH. DETECTION LIMIT [μg/Kg] | CONFIR.METH. DETECTION LIMIT [μg/Kg] | LEVEL OF ACTION (i.e. conceentration above which a result is deemed non-compliant) [μg/Kg] | LABORATORY NAME
|  | MIN | PLAN
B3a + B3b + B3c + B3d |  | 34.4 | 60
B3a | ORGANOCHLORINE COMPOUNDS INCLUDING PCBS |  | 20
[5 empty] | HCB | FAT |  | GC/ECD |  | 10 | 200 | DILAVE
[5 empty] | HCH α | FAT |  | GC/ECD |  | 10 | 200
[5 empty] | HCH β | FAT |  | GC/ECD |  | 10 | 100
[5 empty] | LINDANO | FAT |  | GC/ECD |  | 10 | 20
[5 empty] | ALDRIN | FAT |  | GC/ECD |  | 5 | 200
[5 empty] | DDT y metab. | FAT |  | GC/ECD |  | 10 | 1000
[5 empty] | DIELDRIN | FAT |  | GC/ECD |  | 10 | 200
[5 empty] | ENDRIN | FAT |  | GC/ECD |  | 10 | 50
[5 empty] | HEPTACLOR | FAT |  | GC/ECD |  | 10 | 200
[5 empty] | HEPTACLOR epox. | FAT |  | GC/ECD |  | 10 | 200
[5 empty] | ENDOSULFAN | FAT |  | GC/ECD |  | 10 | 50
[5 empty] | ENDOSULFAN SO4 | FAT |  | GC/ECD |  | 10 | 50
[5 empty] | CLORDANO cis-trans | FAT |  | GC/ECD |  | 10 | 50
[5 empty] | PCB 28 | FAT |  | GC/ECD |  | 50 | 200
[5 empty] | PCB 52 | FAT |  | GC/ECD |  | 50 | 200
[5 empty] | PCB 101 | FAT |  | GC/ECD |  | 50 | 200
[5 empty] | PCB 118 | FAT |  | GC/ECD |  | 50 | 200
[5 empty] | PCB 138 | FAT |  | GC/ECD |  | 50 | 200
[5 empty] | PCB 153 | FAT |  | GC/ECD |  | 50 | 200
[5 empty] | PCB 180 | FAT |  | GC/ECD |  | 50 | 200
B3b | ORGANOPHOSPHORUS COMPOUNDS |  | 20
[5 empty] | ETHION | FAT |  | HPLC/MS-MS |  | 0.5 | 10 | DILAVE
[5 empty] | DIAZINON | FAT |  | HPLC/MS-MS |  | 5 | 10
[5 empty] | CHLORPIRIFOS | FAT |  | HPLC/MS-MS |  | 5 | 10
[5 empty] | METIL PARATION | FAT |  | HPLC/MS-MS |  | 30 | 30
[5 empty] | PARATION (etil) | FAT |  | HPLC/MS-MS |  | 15 | 50
[5 empty] | PYRIMIPHOS METIL | FAT |  | HPLC/MS-MS |  | 5 | 10
[5 empty] | CHLORPIRIFOS METIL | FAT |  | HPLC/MS-MS |  | 15 | 50
[5 empty] | ACEPHATE | FAT |  | HPLC/MS-MS |  | 10 | 20
[5 empty] | AZINPHOS METIL | FAT |  | HPLC/MS-MS |  | 10 | 10
[5 empty] | DIMETHOATE | FAT |  | HPLC/MS-MS |  | 5 | 10
[5 empty] | MALATHION | FAT |  | HPLC/MS-MS |  | 2 | 20
[5 empty] | MALAOXON | FAT |  | HPLC/MS-MS |  | 2 | 20
[5 empty] | FENTHION | FAT |  | HPLC/MS-MS |  | 10 | 50
[5 empty] | PHOSMET | FAT |  | HPLC/MS-MS |  | 15 | 100
[5 empty] | COUMAPHOS | FAT |  | HPLC/MS-MS |  | 2 | 10
B3c | CHEMICAL ELEMENTS |  | 20
[5 empty] | PLOMO | K.L.M |  | AAS |  | 50 | 500(K) | DILAVE
[5 empty] | CADMIO | K.L.M |  | AAS |  | 100 | 1050(K)
[5 empty] | ARSENICO | K.L.M |  | AAS |  | 10 | 2012 (L)
[5 empty] | MERCURIO | K.L.M |  | AAS |  | 160 | 580 (L)
B3d | MYCOTOXINS
430
The minimum number of animals to be checked for all kind of residues and substances must at least equal 0,05 % of sheep and goats over three months of age slaughtered the previous year, with the following breakdown:
Group A: 0,01 %
Each sub-group of Group A must be checked each year using a minimum of 5 % of the total number of samples to be collected for Group A.
The balance will be allocated according to the experience and background information of the country.
Group B: 0,04 %
30 % of the samples must be checked for Group B 1 substances.
30 % of the samples must be checked for Group B 2 substances.
10 % of the samples must be checked for Group B 3 substances.
The balance will be allocated according to the experience of the country.
In order to facilitate this breakdown and ensure that the correct number of samples are tested, the spreadsheet has made the following calculations which distributes the balance of samples between each of the (sub) groups in the following way: - Of the samples to be tested for in Groups A1 - A6, one sixth of the total Group A samples are allocated to each subgroup.
- Of the samples to be tested for Group B, 40% of these have been allocated to Group B1, 50% to Group B2 and 10% to Group B3.
The minimum number of animals to be checked for all kind of residues and substances must at least equal 0,05 % of sheep and goats over three months of age slaughtered the previous year, with the following breakdown:
Group A: 0,01 %
Each sub-group of Group A must be checked each year using a minimum of 5 % of the total number of samples to be collected for Group A.
The balance will be allocated according to the experience and background information of the country.
Group B: 0,04 %
30 % of the samples must be checked for Group B 1 substances.
30 % of the samples must be checked for Group B 2 substances.
10 % of the samples must be checked for Group B 3 substances.
The balance will be allocated according to the experience of the country.
In order to facilitate this breakdown and ensure that the correct number of samples are tested, the spreadsheet has made the following calculations which distributes the balance of samples between each of the (sub) groups in the following way: - Of the samples to be tested for in Groups A1 - A6, one sixth of the total Group A samples are allocated to each subgroup.
- Of the samples to be tested for Group B, 40% of these have been allocated to Group B1, 50% to Group B2 and 10% to Group B3.

## Equine
REGULATORY PROGRAMME FOR CONTROL OF RESIDUES IN FOOD
COUNTRY |  | URUGUAY |  |  |  |  | DATE | 2016-12-01
YEAR OF PLAN IMPLEMENTATION |  | 2017
ANIMAL SPECIES / PRODUCT |  | EQUINE
National PRODUCTION DATA - number of animals (referring to the previous year) |  | 40000
EU EXPORT DATA in number of animals (referring to the previous year) [See Instruction sheet] |  | 40000
NUMBER OF SAMPLES |  | ACCORDING TO EU REQUIREMENTS |  |  | ACCORDING TO CODEX ALIMENTARIUS | OTHER
MINIMUM |  | Not specified
PLAN |  | 500
GROUP OF SUBSTANCES TO BE MONITORED |  | NUMBER OF SAMPLES |  |  | COMPOUND or MARKER RESIDUE | MATRIX ANALYSED | SCREENING METHOD | CONFIRMATORY METHOD | SCREEN.METH. DETECTION LIMIT [μg/Kg] | CONFIR.METH. DETECTION LIMIT [μg/Kg] | LEVEL OF ACTION (i.e. conceentration above which a result is deemed non-compliant) [μg/Kg] | LABORATORY
|  | MIN | PLAN
A1 | STILBENES | Not specified | 20 |  | DES | URINE/LIVER |  | GC/ MS |  | 0.57 | 1 | DILAVE
[5 empty] | HEXOESTROL | URINE |  | GC/ MS |  | 0.58 | 1
[5 empty] | DIENOESTROL | URINE |  | GC/ MS |  | 0.65 | 1
A2 | THYROSTATS | Not specified | 10 |  | METILTIURACIL | THYROID |  | HPLC/MS-MS |  | 2.3 | 10 | XENOBIOTICOS
[5 empty] | PROPILTIURACIL | THYROID |  | HPLC/MS-MS |  | 1.3 | 10
[5 empty] | TIOURACIL | THYROID |  | HPLC/MS-MS |  | 2.3 | 10
[5 empty] | FENILTURACIL | THYROID |  | HPLC/MS-MS |  | 2 | 10
[5 empty] | TAPAZOL | THYROID |  | HPLC/MS-MS |  | 1 | 10
A3 | STEROIDS (WITH ANDROGENIC, ESTROGENIC OR PROGESTAGENIC ACTIVITY) | Not specified | 20 |  | NORTESTOSTERONA | URINE | GC-MS | GC/MS - HPLC/MSMS | 1.9 | 0.7 | 2 | DILAVE
[5 empty] | TREMBOLONA | URINE | ELISA | GC/MS - HPLC/MSMS | 2 | 0.88 | 2
A4 | RESORCYLIC ACID LACTONES | Not specified | 10 |  | ZERANOL | URINE | GC/MS | GC/MS | 0.84 | 0.84 | 1 | DILAVE
A5 | BETA AGONISTS | Not specified | 20 |  | CLEMBUTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1 | DILAVE
[5 empty] | SALBUTAMOL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | RACTOPAMINA | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | MABUTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | SINBUTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | TERBUTALINE | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | BROMBUTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | CLENPENTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | TULOBUTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
[5 empty] | MAPENTEROL | URINE |  | HPLC/MS-MS |  | 0.5 | 1
A6 | CHLORAMPHENICOL | Not specified | 10 |  | CLORANFENICOL | MUSCLE | ELISA | HPLC/ MS/MS | 0.25 | 0.05 | 0.3 | DILAVE
| NITROIMIDAZOLES |  | 30
[5 empty] | NITROIMIDAZOLES | MUSCLE |  | HPLC/ MS/MS |  | 0.5 | 1 | MICROBIOTICOS
GROUP OF SUBSTANCES TO BE MONITORED |  | NUMBER OF SAMPLES |  |  | COMPOUND or MARKER RESIDUE | MATRIX ANALYSED | SCREENING METHOD | CONFIRMATORY METHOD | SCREEN.METH. DETECTION LIMIT [μg/Kg] | CONFIR.METH. DETECTION LIMIT [μg/Kg] | LEVEL OF ACTION (i.e. conceentration above which a result is deemed non-compliant) [μg/Kg] | LABORATORY
|  | MIN | PLAN
B1 | ANTIBACTERIAL SUBSTANCES | Not specified | 30 | 5 | SULFACLORPIRIDAZINA | LIVER |  | HPLC/MS-MS |  | 25 | 100 | MICROBIOTICOS
[5 empty] | SULFADOXINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
[5 empty] | SULFAMETOXAZOL | LIVER |  | HPLC/MS-MS |  | 25 | 100
[5 empty] | SULFATIAZOL | LIVER |  | HPLC/MS-MS |  | 25 | 100
[5 empty] | SULFADIAZINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
[5 empty] | SULFAMERAZINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
[5 empty] | SULFAMETAZINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
[5 empty] | SULFADIMETOXINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
[5 empty] | SULFAQUINOXALINA | LIVER |  | HPLC/MS-MS |  | 25 | 100
[5 empty] | CIPROFLOXACINA-ENROFLOXACINA | MUSCLE |  | HPLC/MS-MS |  | 10 | 115 | DILAVE (COMENT:level of action= CCalfa)
|  |  |  | 10 | NORFLOXACINA | MUSCLE |  | HPLC/MS-MS |  | 5 | 10
[5 empty] | DANOFLOXACINA | MUSCLE |  | HPLC/MS-MS |  | 10 | 224
[5 empty] | MARBOFLOXACINA | MUSCLE |  | HPLC/MS-MS |  | 10 | 177
[5 empty] | FLUMEQUINA | MUSCLE |  | HPLC/MS-MS |  | 10 | 233
|  |  |  | 15 | GENTAMICINA | K. L. M. |  | HPLC/MS-MS |  | 10 | 10 (M) | DILAVE
[5 empty] | ESTREPTOMICINA | K. L. M. |  | HPLC/MS-MS |  | 10 | 10 (M)
[5 empty] | PENICILINA | K. L. M. | SWAB/ TEST | HPLC/MS-MS | 12.5 | 10 | 50 (M)
[5 empty] | ERITROMICINA | K. L. M. | SWAB/ TEST | HPLC/MS-MS | 50 | 10 | 200 (M)
[5 empty] | NEOMICINA | K. L. M. | SWAB/ TEST | HPLC/MS-MS | 250 | 10 | 500 (M)
[5 empty] | TETRACICLINA | K. L. M. | SWAB/ TEST | HPLC/MS-MS | 80 | 10 | 100 (M)
B2a + B2b + B2c + B2d + B2e |  | Not specified
B2a | ANTHELMINTICS |  | 50 | 10 | IVERMECTINA | LIVER |  | HPLC/FLD |  | 8 | 108 | DILAVE (COMENT:level of action= CCalfa)
[5 empty] | DORAMECTINA | LIVER |  | HPLC/FLD |  | 6 | 108
[5 empty] | MOXIDECTIN | LIVER |  | HPLC/FLD |  | 6 | 115
[5 empty] | ABAMECTINA | LIVER |  | HPLC/FLD |  | 8 | 111
|  |  |  | 30 | CLOSANTEL | MUSCLE |  | HPLC/MSMS |  | 1.5 | 1.5 | MICROBIOTICOS
|  |  |  | 10 | OXIFENDAZOL | LIVER |  | HPLC/MSMS |  | 10 | 25 | MICROBIOTICOS
[5 empty] | ALBENDAZOL | LIVER |  | HPLC/MSMS |  | 10 | 125
[5 empty] | FEMBENDAZOL / FEBENDAZOL SULFONA | LIVER |  | HPLC/MSMS |  | 25 | 500
[5 empty] | MEBENDAZOL | LIVER |  | HPLC/MSMS |  | 12.5 | 400
[5 empty] | OXFENDAZOL | LIVER |  | HPLC/MSMS |  | 25 | 500
[5 empty] | TRICLABENDAZOL | LIVER |  | HPLC/MSMS |  | 10 | 10
B2b | ANTICOCCIDIALS
B2c | CARBAMATES |  | 30 |  | ALDICARB SULFONA | MUSCLE |  | HPLC/FLD |  | 1.2 | 10 | XENOBIOTICOS
[5 empty] | ALDIDICARB SULFOXIDO | MUSCLE |  | HPLC/FLD |  | 0.8 | 10
[5 empty] | ALDICARB | MUSCLE |  | HPLC/FLD |  | 1.1 | 10
[5 empty] | 3 OH CARBOFURAN | MUSCLE |  | HPLC/FLD |  | 1.2 | 10
[5 empty] | CARBOFURAN | MUSCLE |  | HPLC/FLD |  | 1.4 | 10
[5 empty] | CARBARYL | MUSCLE |  | HPLC/FLD |  | 1 | 50
| PYRETROIDS |  | 20
[5 empty] | CIPERMETRIN | FAT |  | GC/ECD |  | 15 | 200 | DILAVE
[5 empty] | PERMETRINA | FAT |  | GC/ECD |  | 10 | 10
[5 empty] | DELTAMETRIN | FAT |  | GC/ECD |  | 20 | 50
B2d | SEDATIVES |  | 30 |  | XILASIN | KIDNEY |  | HPLC/DAD |  | 4.87 | 10 | XENOBIOTICOS
[5 empty] | CLORPROMACIN | KIDNEY |  | HPLC/DAD |  | 3.38 | 10
[5 empty] | AZAPERONE | KIDNEY |  | HPLC/DAD |  | 3.8 | 10
[5 empty] | ACEPROMACIN | KIDNEY |  | HPLC/DAD |  | 6.61 | 10
[5 empty] | AZAPEROL | KIDNEY |  | HPLC/DAD |  | 3.53 | 10
B2e | NON STEROIDAL ANTI-INFLAMMATORY DRUGS |  | 50
|  |  |  | 25 | FENILBUTAZONA, OXYPHENBUTAZON HYDRAT | MUSCLE |  | HPLC/MSMS |  | <5 | 5 | MICROBIOTICOS
|  |  |  | 25 | FLUNIXIN, 5-HYDROXYFLUNIXIN | MUSCLE |  | HPLC/MSMS |  | <5 | 5 | MICROBIOTICOS
B2f | Other pharmacologically active subs |  | 50
|  |  |  | 25 | CORTICOIDES
[5 empty] | DEXAMETHASONE | LIVER |  | HPLC-MS/MS |  | 0.12 | 2 | XENOBIOTICOS
[5 empty] | BETAMETHASONE | LIVER |  | HPLC-MS/MS |  | 0.11 | 1
[5 empty] | PREDNISOLONE | LIVER |  | HPLC-MS/MS |  | 0.28 | 6
[5 empty] | METILPREDNISOLONE | LIVER |  | HPLC-MS/MS |  | 0.38 | 10
GROUP OF SUBSTANCES TO BE MONITORED |  | NUMBER OF SAMPLES |  |  | COMPOUND or MARKER RESIDUE | MATRIX ANALYSED | SCREENING METHOD | CONFIRMATORY METHOD | SCREEN.METH. DETECTION LIMIT [μg/Kg] | CONFIR.METH. DETECTION LIMIT [μg/Kg] | LEVEL OF ACTION (i.e. conceentration above which a result is deemed non-compliant) [μg/Kg] | LABORATORY
|  | MIN | PLAN
B3a + B3b + B3c + B3d |  | Not specified
B3a | ORGANOCHLORINE COMPOUNDS INCLUDING PCBS |  | 20 |  | HCB | FAT |  | GC/ECD |  | 10 | 200 | DILAVE
[5 empty] | HCH α | FAT |  | GC/ECD |  | 10 | 200
[5 empty] | HCH β | FAT |  | GC/ECD |  | 10 | 100
[5 empty] | LINDANO | FAT |  | GC/ECD |  | 10 | 20
[5 empty] | ALDRIN | FAT |  | GC/ECD |  | 5 | 200
[5 empty] | DDT y metab. | FAT |  | GC/ECD |  | 10 | 1000
[5 empty] | DIELDRIN | FAT |  | GC/ECD |  | 10 | 200
[5 empty] | ENDRIN | FAT |  | GC/ECD |  | 10 | 50
[5 empty] | HEPTACLOR | FAT |  | GC/ECD |  | 10 | 200
[5 empty] | HEPTACLOR epox. | FAT |  | GC/ECD |  | 10 | 200
[5 empty] | ENDOSULFAN | FAT |  | GC/ECD |  | 10 | 50
[5 empty] | ENDOSULFAN SO4 | FAT |  | GC/ECD |  | 10 | 50
[5 empty] | CLORDANO cis-trans | FAT |  | GC/ECD |  | 10 | 50
[5 empty] | PCB 28 | FAT |  | GC/ECD |  | 50 | 200
[5 empty] | PCB 52 | FAT |  | GC/ECD |  | 50 | 200
[5 empty] | PCB 101 | FAT |  | GC/ECD |  | 50 | 200
[5 empty] | PCB 118 | FAT |  | GC/ECD |  | 50 | 200
[5 empty] | PCB 138 | FAT |  | GC/ECD |  | 50 | 200
[5 empty] | PCB 153 | FAT |  | GC/ECD |  | 50 | 200
[5 empty] | PCB 180 | FAT |  | GC/ECD |  | 50 | 200
B3b | ORGANOPHOSPHORUS COMPOUNDS |  | 20
[5 empty] | ETHION | FAT |  | HPLC/MS-MS |  | 0.5 | 10 | DILAVE
[5 empty] | DIAZINON | FAT |  | HPLC/MS-MS |  | 5 | 10
[5 empty] | CHLORPIRIFOS | FAT |  | HPLC/MS-MS |  | 5 | 10
[5 empty] | METIL PARATION | FAT |  | HPLC/MS-MS |  | 30 | 30
[5 empty] | PARATION (etil) | FAT |  | HPLC/MS-MS |  | 15 | 50
[5 empty] | PYRIMIPHOS METIL | FAT |  | HPLC/MS-MS |  | 5 | 10
[5 empty] | CHLORPIRIFOS METIL | FAT |  | HPLC/MS-MS |  | 15 | 50
[5 empty] | ACEPHATE | FAT |  | HPLC/MS-MS |  | 10 | 20
[5 empty] | AZINPHOS METIL | FAT |  | HPLC/MS-MS |  | 10 | 10
[5 empty] | DIMETHOATE | FAT |  | HPLC/MS-MS |  | 5 | 10
[5 empty] | MALATHION | FAT |  | HPLC/MS-MS |  | 2 | 20
[5 empty] | MALAOXON | FAT |  | HPLC/MS-MS |  | 2 | 20
[5 empty] | FENTHION | FAT |  | HPLC/MS-MS |  | 10 | 50
[5 empty] | PHOSMET | FAT |  | HPLC/MS-MS |  | 15 | 100
[5 empty] | COUMAPHOS | FAT |  | HPLC/MS-MS |  | 2 | 10
B3c | CHEMICAL ELEMENTS |  | 20
[5 empty] | PLOMO | K. L. M. |  | AAS |  | 50 | 100 (M) | DILAVE
[5 empty] | CADMIO | K. L. M. |  | AAS |  | 10 | 200(M)
[5 empty] | ARSENICO | K. L. M. |  | AAS |  | 10 | 2012 (L)
[5 empty] | MERCURIO | K. L. M. |  | AAS |  | 160 | 580 (L)

## Bovine Milk
REGULATORY PROGRAMME FOR CONTROL OF RESIDUES IN FOOD | [10 empty] | For official use
[11 empty] | A6 | 82.5
COUNTRY |  | URUGUAY | [5 empty] | DATE | 2016-12-01 |  | B1 | 93
YEAR OF PLAN IMPLEMENTATION |  | 2017 | [8 empty] | B2a | 51
ANIMAL SPECIES / PRODUCT |  | BOVINE MILK | [8 empty] | B2e | 19.5 | 246
National PRODUCTION DATA - in TONNES (referring to the previous year) |  | 1773293
PRODUCTION DATA in TONNES for calculation of SAMPLE NUMBERS. (referring to previous year's production) |  | 200000
NUMBER OF SAMPLES |  | ACCORDING TO EU REQUIREMENTS |  |  |  | ACCORDING TO CODEX ALIMENTARIUS | OTHER
MINIMUM number is 300 |  | 300
PLAN
GROUP OF SUBSTANCES TO BE MONITORED |  | NUMBER OF SAMPLES | NUMBER OF TESTS |  |  | COMPOUND or MARKER RESIDUE | MATRIX ANALYSED | SCREENING METHOD | CONFIRMATORY METHOD | SCREEN.METH. DETECTION LIMIT [μg/Kg] | CONFIR.METH. DETECTION LIMIT [μg/Kg] | LEVEL OF ACTION (i.e. conceentration above which a result is deemed non-compliant) [μg/Kg] | LABORATORY
|  | MIN | MIN | PLAN
A6 | Chloramphenicol + Nitrofurans+ Nitroimidazoles | 246 | 246 | 250
| CHLORAMPHENICOL |  |  |  | 125 | CHLORAMPHENICOL | MILK |  | HPLC/MS-MS |  | 0.05 | 0.3 | DILAVE
Other A6 substances
[5 empty] | 125 | NITROFURANOS | MILK |  | HPLC/DAD |  | 1 | 1 | DILAVE
B1 | ANTIBACTERIAL SUBSTANCES |  | 246 | 360 | 60 | SULFACLORPIRIDAZINA | MILK |  | HPLC/MSMS |  | 10 | 100 | DILAVE
[6 empty] | SULFAMETOXIPIRIDAZINA | MILK |  | HPLC/MSMS |  | 10 | 100
[6 empty] | SULFACETAMIDA | MILK |  | HPLC/MSMS |  | 10 | 100
[6 empty] | SULFAMETOXAZOL | MILK |  | HPLC/MSMS |  | 10 | 100
[6 empty] | SULFATIAZOL | MILK |  | HPLC/MSMS |  | 10 | 100
[6 empty] | SULFADIACINA | MILK |  | HPLC/MSMS |  | 10 | 100
[6 empty] | SULFAMERACINA | MILK |  | HPLC/MSMS |  | 10 | 100
[6 empty] | SULFAMETACINA | MILK |  | HPLC/MSMS |  | 10 | 100
[6 empty] | SULFADIMETOXINA | MILK |  | HPLC/MSMS |  | 10 | 100
[6 empty] | SULFAQUINOXALINA | MILK |  | HPLC/MSMS |  | 10 | 100
[5 empty] | 200 | PENICILIN | MILK | SWAB/TEST | HPLC-MSMS | 3 | 10 | 4 | DILAVE
[6 empty] | ERITROMINCIN | MILK | SWAB/TEST | HPLC-MSMS | 40 | 10 | 40
[6 empty] | NEOMICIN | MILK | SWAB/TEST | HPLC-MSMS | 10 | 10 | 1500
[6 empty] | GENTAMICIN | MILK | SWAB/TEST | HPLC-MSMS | 20 |  | 100
[6 empty] | ESTREPTOMICINA | MILK | SWAB/ TEST | HPLC/MS-MS | 100 | 10 | 200
[5 empty] | 70 | TETRACICLINES | MILK | SWAB/ TEST | HPLC/MSMS |  | 5 | 100 | DILAVE
[5 empty] | 30 | QUINOLONAS (CIPRO, ENRO Y NORFLOXACINA) | MILK |  | HPLC/MS-MS |  | 2 | 100 (Cipro/Enro) 10 (Norflox)
B2a | ANTHELMINTICS |  | 246 | 250 | 125 | IVERMECTINA | MILK |  | HPLC/FLD |  | 5 | 5 | DILAVE
[6 empty] | DORAMECTINA | MILK |  | HPLC/FLD |  | 5 | 5
[6 empty] | MOXIDECTIN | MILK |  | HPLC/FLD |  | 5 | 40
[6 empty] | ABAMECTINA | MILK |  | HPLC/FLD |  | 5 | 50
[6 empty] | ALBENDAZOL SULFOXIDO | MILK |  | HPLC/MS-MS |  | 5 | 100 | DILAVE
[5 empty] | 125 | ALBENDAZOL SULFONA | MILK |  | HPLC/MS-MS |  | 5 | 100
[6 empty] | OXFENDAZOLE | MILK |  | HPLC/MS-MS |  | 5 | 10
[6 empty] | MEBENDAZOLE | MILK |  | HPLC/MS-MS |  | 5 | 10
[6 empty] | FENBENDAZOLE | MILK |  | HPLC/MS-MS |  | 5 | 10
B2e | NON STEROIDAL ANTI-INFLAMMATORY DRUGS |  | 19.5 | 20
[6 empty] | FENILBUTAZONA, OXYPHENBUTAZON HYDRAT | MILK |  | HPLC/MSMS |  | <5 | 10 | MICROBIOTICOS
B2f | Other pharmacologically active subs |  |  | 30
[6 empty] | MONENSINA | MILK |  | HPLC/DAD |  | 1 | 2 | MICROBIOTICOS
GROUP OF SUBSTANCES TO BE MONITORED |  | NUMBER OF SAMPLES | NUMBER OF TESTS |  |  | COMPOUND or MARKER RESIDUE | MATRIX ANALYSED | SCREENING METHOD | CONFIRMATORY METHOD | SCREEN.METH. DETECTION LIMIT [μg/Kg] | CONFIR.METH. DETECTION LIMIT [μg/Kg] | LEVEL OF ACTION (i.e. conceentration above which a result is deemed non-compliant) [μg/Kg] | LABORATORY
|  | MIN | MIN | PLAN
B3a + B3b + B3c + B3d |  | 54 | 54 | 360
B3a | ORGANOCHLORINE COMPOUNDS INCLUDING PCBS |  |  | 40
[6 empty] | HCB | BUTTER |  | GC/ECD |  | 10 | 50
[6 empty] | HCH isom. | BUTTER |  | GC/ECD |  | 10 | 50
[6 empty] | LINDANO | BUTTER |  | GC/ECD |  | 10 | 50
[6 empty] | ALDRIN | BUTTER |  | GC/ECD |  | 10 | 50
[6 empty] | DDT y metab. | BUTTER |  | GC/ECD |  | 10 | 50
[6 empty] | DIELDRIN | BUTTER |  | GC/ECD |  | 10 | 50
[6 empty] | ENDRIN | BUTTER |  | GC/ECD |  | 10 | 50
[6 empty] | HEPTACLOR | BUTTER |  | GC/ECD |  | 10 | 50
[6 empty] | HEPTACLOR epox. | BUTTER |  | GC/ECD |  | 10 | 50
[6 empty] | ENDOSULFAN | BUTTER |  | GC/ECD |  | 10 | 50 | DILAVE
[6 empty] | ENDOSULFAN SO4 | BUTTER |  | GC/ECD |  | 10 | 50
[6 empty] | CLORDANO cis-trans | BUTTER |  | GC/ECD |  | 10 | 50
[6 empty] | PCB 28 | BUTTER |  | GC/ECD |  | 50 | 200
[6 empty] | PCB 52 | BUTTER |  | GC/ECD |  | 50 | 200
[6 empty] | PCB 101 | BUTTER |  | GC/ECD |  | 50 | 200
[6 empty] | PCB 118 | BUTTER |  | GC/ECD |  | 50 | 200
[6 empty] | PCB 138 | BUTTER |  | GC/ECD |  | 50 | 200
[6 empty] | PCB 153 | BUTTER |  | GC/ECD |  | 50 | 200
[6 empty] | PCB 180 | BUTTER |  | GC/ECD |  | 50 | 200
B3b | ORGANOPHOSPHORUS COMPOUNDS |  |  | 40
[6 empty] | ETHION | MILK CREAM |  | HPLC/MS-MS |  | 0.5 | 10 | DILAVE
[6 empty] | DIAZINON | MILK CREAM |  | HPLC/MS-MS |  | 5 | 20
[6 empty] | CHLORPYRIFOS | MILK CREAM |  | HPLC/MS-MS |  | 5 | 10
[6 empty] | METIL PARATION | MILK CREAM |  | HPLC/MS-MS |  | 30 | 30
[6 empty] | PARATION (ETIL) | MILK CREAM |  | HPLC/MS-MS |  | 15 | 50
[6 empty] | PYRIMIPHOS METHIL | MILK CREAM |  | HPLC/MS-MS |  | 5 | 10
[6 empty] | CHLORPYRIFOS METHIL | MILK CREAM |  | HPLC/MS-MS |  | 15 | 15
[6 empty] | ACEPHATE | MILK CREAM |  | HPLC/MS-MS |  | 10 | 20
[6 empty] | AZINPHOS METHIL | MILK CREAM |  | HPLC/MS-MS |  | 10 | 10
[6 empty] | DIMETHOATE | MILK CREAM |  | HPLC/MS-MS |  | 5 | 10
[6 empty] | MALATHION | MILK CREAM |  | HPLC/MS-MS |  | 2 | 20
[6 empty] | MALAOXON | MILK CREAM |  | HPLC/MS-MS |  | 2 | 20
[6 empty] | FENTHION | MILK CREAM |  | HPLC/MS-MS |  | 10 | 10
[6 empty] | PHOSMET | MILK CREAM |  | HPLC/MS-MS |  | 15 | 50
[6 empty] | COUMAPHOS | MILK CREAM |  | HPLC/MS-MS |  | 2 | 10
B3c | CHEMICAL ELEMENTS |  |  | 30
[6 empty] | PLOMO | MILK CREAM |  | AAS |  | 2 | 20 | DILAVE
[6 empty] | CADMIO | MILK CREAM |  | AAS |  | 1 | 20
B3d | MYCOTOXINS |  |  | 150
[6 empty] | AFLATOXIN M1 | MILK | ELISA | HPLC-FLD | 0.03 | 0.03 | 0.05 | DILAVE / LATU
Check calculation of total of minimums
| Samples: | 300
| Tests: | 811.5
The annual number of samples is 1 per 15000 tonnes of the annual production of milk, with a minimum of 300 samples.
The following breakdown must be respected:
(a) 70 % of the samples must be examined for the presence of residues of veterinary drugs. In this case, each sample has to be tested for at least four different compounds from at least three groups among groups A 6, B 1, B 2 (a) and B 2 (e).
(b) 15 % of the samples must be tested for the presence of residues designated in group B 3 of Annex of this document.
(c) The balance (15 %) must be allocated according to the situation of the country.
In order to facilitate this breakdown and ensure that 300 samples are taken, the spreadsheet has made the following calculations: - Of the 70% of the samples to be tested for in Group A6, B1, B2a and B2e, 35%, 40%, 20% and 5% have been allocated to each group respectively and the balance of samples referred to in (c) above (i.e. 15% of 300) has been equally allocated between all of the four groups listed.
- To take account of the necessity to test each of the samples allocated for Groups A6, B1, B2a and B2e for at least three substance groups (i.e. multiple analysis for a single sample), the samples taken in total for A6, B1 and B2a should be tested for each of these three substance groups. The minimum number of tests is calculated accordingly.

## Wild Game
REGULATORY PROGRAMME FOR CONTROL OF RESIDUES IN FOOD
COUNTRY |  | URUGUAY |  |  |  | DATE | 2016-12-01
YEAR OF PLAN IMPLEMENTATION |  | 2017
ANIMAL SPECIES
PRODUCT |  | WILD GAME
National PRODUCTION DATA in TONNES (referring to the previous year) |  | 175
EU EXPORT DATA in TONNES (referring to the previous year) [See Instruction sheet] |  | 175
NUMBER OF SAMPLES |  | ACCORDING TO EU REQUIREMENTS |  | ACCORDING TO CODEX ALIMENTARIUS | OTHER
MINIMUM |  | 100
PLAN
GROUP OF SUBSTANCES TO BE MONITORED |  | NUMBER OF SAMPLES |  | COMPOUND or MARKER RESIDUE | MATRIX ANALYSED | SCREENING METHOD | CONFIRMATORY METHOD | SCREEN.METH. DETECTION LIMIT [μg/Kg] | CONFIR.METH. DETECTION LIMIT [μg/Kg] | LEVEL OF ACTION (i.e. conceentration above which a result is deemed non-compliant) [μg/Kg] | LABORATORY
|  | MIN | PLAN
B3c |  | 100
B3c | CHEMICAL ELEMENTS |  | 100
|  |  |  | CADMIO | MUSCLE |  | A.A.S. |  | 50 | 50 (M) | DILAVE
|  |  |  | PLOMO | MUSCLE |  | A.A.S. |  | 10 | 100 (M) | DILAVE
|  |  |  | ARSÉNICO | MUSCLE |  | A.A.S. |  | 10 | 500(M) | DILAVE
|  |  |  | MERCURIO | MUSCLE |  | A.A.S. |  | 160 | 500(M) | DILAVE
OTHER SUBSTANCES
Check calculation of total of minimums
100
The number of samples to be taken each year must at least be equal to 100 samples. Samples must be analysed for residues of chemical elements (Group B3c).

## Aquaculture - finish
REGULATORY PROGRAMME FOR CONTROL OF RESIDUES IN FOOD
For official use
COUNTRY |  | URUGUAY |  |  | DATE | 2016-12-01 |  | 0.5
YEAR OF PLAN IMPLEMENTATION |  | 2017
ANIMAL SPECIES / PRODUCT |  | AQUACULTURE FIN FISH
National PRODUCTION DATA - in TONNES (referring to the previous year) |  | 44.653
PRODUCTION DATA in TONNES for calculation of SAMPLE NUMBERS. (referring to previous year's production) |  | 50
NUMBER OF SAMPLES † |  | ACCORDING TO EU REQUIREMENTS |  | ACCORDING TO CODEX ALIMENTARIUS | OTHER
MINIMUM # |  | 6
PLAN |  | 9
GROUP OF SUBSTANCES TO BE MONITORED |  | NUMBER OF SAMPLES |  | COMPOUND or MARKER RESIDUE | MATRIX ANALYSED | SCREENING METHOD | CONFIRMATORY METHOD | SCREEN.METH. DETECTION LIMIT [μg/Kg] | CONFIR.METH. DETECTION LIMIT [μg/Kg] | LEVEL OF ACTION (i.e. conceentration above which a result is deemed non-compliant) [μg/Kg] | LABORATORY
|  | MIN | PLAN
A1 | STILBENES | 1 | 2 | DIENESTROL | MUSCLE -SKIN |  | CFIASOM-DAR-CHE-059 |  | 0.5 | 0.5 | PACIFIC RIM LAB. (CANADA)
|  |  |  | HEXESTROL | MUSCLE -SKIN |  | CFIASOM-DAR-CHE-059 |  | 0.2 | 0.2
|  |  |  | DIETHYLSTILBESTEROL | MUSCLE -SKIN |  | CFIASOM-DAR-CHE-059 |  | 0.2 | 0.2
A3 | STEROIDS (WITH ANDROGENIC, ESTROGENIC OR PROGESTAGENIC ACTIVITY) | 1
A6 | Chloramphenicol + Nitrofurans+ Nitroimidazoles | 1
| CHLORAMPHENICOL |  | 2 | CLORAMPHENICOL | MUSCLE -SKIN |  | HPLC/MS/MS |  | 0.3 | 0.3 | DILAVE
| NITROFURANS |  | 2 | AMOZ | MUSCLE -SKIN |  | HPLC/MS/MS |  | 0.5 | 1 | DILAVE
| Nitrofurantoin metabolite |  |  | SEM
| Furaltadone metabolite |  |  | AHD
| Furazolidone metabolite |  |  | AOZ
Nitrofurazone metabolite
| NITROIMIDAZOLES |  | 2 | METRONIDAZOLE | MUSCLE -SKIN |  | HPLC/MS/MS |  | 0.5 | 0.5 | MICROBIOTICOS (BRA)
|  |  |  | RONIDAZOLE |  |  |  |  | 0.5 | 0.5 | U OTRO
|  |  |  | DIMETRIDAZOLE |  |  |  |  | 0.5 | 0.5
|  |  |  | HMMNI |  |  |  |  | 0.5 | 0.5
|  |  |  | METRONIDAZOLE-OH |  |  |  |  | 0.5 | 0.5
GROUP OF SUBSTANCES TO BE MONITORED |  | NUMBER OF SAMPLES |  | COMPOUND or MARKER RESIDUE | MATRIX ANALYSED | SCREENING METHOD | CONFIRMATORY METHOD | SCREEN.METH. DETECTION LIMIT [μg/Kg] | CONFIR.METH. DETECTION LIMIT [μg/Kg] | LEVEL OF ACTION (i.e. conceentration above which a result is deemed non-compliant) [μg/Kg] | LABORATORY
|  | MIN | PLAN
B1 | ANTIBACTERIAL SUBSTANCES | 1 | 2 | TETRACYCLINE | MUSCLE -SKIN |  | HPLC/MS/MS |  | 5 | 100 | DILAVE
|  |  |  | OXITETRACYCLINE | MUSCLE -SKIN |  | HPLC/MS/MS |  | ´5 | 100 | DILAVE
|  |  |  | CLORTETRACYCLINE | MUSCLE -SKIN |  | HPLC/MS/MS |  | 5 | 100 | DILAVE
|  |  |  | PENICILLIN V | MUSCLE -SKIN |  | HPLC/MS/MS |  | ´5-10 | 100 | DILAVE
|  |  |  | PENICILLIN G | MUSCLE -SKIN |  | HPLC/MS/MS |  | ´5-10 | 100 | DILAVE
|  |  |  | CLOXACILLIN | MUSCLE -SKIN |  | HPLC/MS/MS |  | ´5-10 | 300 | DILAVE
|  |  |  | AMOXICILLIN | MUSCLE -SKIN |  | HPLC/MS/MS |  | ´5-10 | 50 | DILAVE
|  |  |  | AMPICILLIN | MUSCLE -SKIN |  | HPLC/MS/MS |  | ´5-10 | 50 | DILAVE
|  |  |  | ENROFLOXACIN-CIPROFLOXACIN | MUSCLE -SKIN |  | HPLC/MS/MS |  | ´5-10 | 100 | DILAVE
|  |  |  | FLUMEQUINE | MUSCLE -SKIN |  | HPLC/MS/MS |  | ´5-10 | 600 | DILAVE
|  |  |  | MARBOFLOXACIN | MUSCLE -SKIN |  | HPLC/MS/MS |  | ´5-10 | 150 | DILAVE
|  |  |  | CEFALEXIN | MUSCLE -SKIN |  | HPLC/MS/MS |  | ´5-10 | 1000 | DILAVE
|  |  |  | SULFONAMIDES | MUSCLE -SKIN |  | HPLC/MS/MS |  | ´5-10 | 100 | DILAVE
|  |  |  | ERYTHROMYCIN | MUSCLE -SKIN |  | HPLC/MS/MS |  | 10 | 200 | DILAVE
B2a | ANTHELMINTICS | 1 | 2 | AVERMECTINS | MUSCLE -SKIN |  | HPLC - FLD |  |  |  | DILAVE
B2f | Other pharmacologically active subs
GROUP OF SUBSTANCES TO BE MONITORED |  | NUMBER OF SAMPLES |  | COMPOUND or MARKER RESIDUE | MATRIX ANALYSED | SCREENING METHOD | CONFIRMATORY METHOD | SCREEN.METH. DETECTION LIMIT [μg/Kg] | CONFIR.METH. DETECTION LIMIT [μg/Kg] | LEVEL OF ACTION (i.e. conceentration above which a result is deemed non-compliant) [μg/Kg] | LABORATORY
|  | MIN | PLAN
Sum of B3a + B3c + B3d + B3e |  | 1
B3a | ORGANOCHLORINE COMPOUNDS INCLUDING PCBS |  | 2 | ORGANOCHLORINE PESTICIDES | MUSCLE -SKIN |  | GC- ECD |  | 5 10 | 2000 | DILAVE
|  |  |  | PCBs | MUSCLE -SKIN |  | GC - ECD |  | 10 |  | DILAVE
B3c | CHEMICAL ELEMENTS |  | 2 | Hg | MUSCLE -SKIN |  | AAS |  | 49 | 1000 | DINARA
|  |  |  | Pb | MUSCLE -SKIN |  | AAS |  | 90 | 300 | DINARA
|  |  |  | Cd | MUSCLE -SKIN |  | AAS |  | 9 | 50 | DINARA
B3d | MYCOTOXINS
B3e | DYES e.g. Malachite Green (+ leucomalachite green), crystal violet etc |  | 2 | MALACHITE GREEN | MUSCLE -SKIN |  | LC - MS MS |  | 0.5 | 0.5 | PACIFIC RIM LAB. (CANADA)
LEUKOMALACHITE GREEN
GENTIAN VIOLET
LEUCOGENTIAN VIOLET
† A sample is one or more fish. The minimum number of samples to be collected each year must be at least 1 per 100 tonnes of annual production.
The following breakdown must be respected: Group A: one third of the total samples.
All of these samples must be taken at farm level, on fish at all stages of farming , including fish which is ready to be placed on the market for consumption.
Group B: two thirds of the total samples.
This sampling should be carried out: (a) preferably at the farm, on fish ready to be placed on the market for consumption;
(b) either at the processing plant, or at wholesale level, on fresh fish, on condition that tracing-back to the farm of origin, in the event of positive results, can be done.
In order to facilitate this breakdown and ensure that the correct number of samples are tested, the spreadsheet has made the following calculations distributing samples between each of the (sub) groups in the following way:
- Of the samples to be tested for in Groups A1, A3 and A6, one third of the total Group A samples are allocated to each of the three subgroups.
- Of the samples to be tested for Group B, 50% of these have been allocated to Group B1, 20% to Group B2 and 30% to Group B3. It is essential that dyes are tested for.
# For very small production volumes (e.g. < 500 tonnes) where the spreadsheet would calculate < 1 sample per substance group, a minimum of one sample per compound group has been assigned.

## Honey
PROGRAMA NACIONAL DE RESIDUOS BIOLOGICOS
PRG-RES-01
| PERÍODO |  |  | FECHA APROBACIÓN | 2016-12-01
2017
| Producto | MIEL
| Nº DE MUESTRAS | ANALITO | MATRIZ | MÉTODO SCREENING | MÉTODO CONFIRMATORIO | LÍMITE DE DETECCIÓN DEL SCREENING [μg/Kg] | LÍMITE DE DETECCIÓN DEL MÉTODO CONFIRMATORIO [μg/Kg] | NIVEL DE ACCIÓN [μg/Kg]
PLAN
A6 CLORANFENICOL | 3 | CLORANFENICOL | MIEL | ELISA | HPLC-MS/MS | 0.2 | 0.1 | 0.3
A6 NITROFURANOS METABOLITOS | 9
|  | AHD | MIEL |  | HPLC-MS/MS |  | 0.5 | 0.5
|  | AMOZ | MIEL |  | HPLC-MS/MS |  | 0.5 | 0.5
|  | AOZ | MIEL |  | HPLC-MS/MS |  | 0.5 | 0.5
|  | SEM | MIEL |  | HPLC-MS/MS |  | 0.5 | 0.5
B1 SUSTANCIAS ANTIBACTERIALES | 34
|  | SULFAMETACINA | MIEL |  | HPLC-MS/MS |  | 2 | 2
|  | SULFATIAZOL | MIEL |  | HPLC-MS/MS |  | 2 | 2
|  | SULFADIACINA | MIEL |  | HPLC-MS/MS |  | 2 | 2
|  | SULFAQUINOXALINA | MIEL |  | HPLC-MS/MS |  | 2 | 2
|  | SULFAMERACINA | MIEL |  | HPLC-MS/MS |  | 2 | 2
|  | TYLOSINA A | MIEL |  | HPLC MSMS |  | 2 | 2
|  | TYLOSINA B | MIEL |  |  |  | 2 | 2
|  | OXYTETRACICLINA | MIEL | CHARM II TEST | HPLC MSMS | 20 | 10 | 20
|  | TETRACICLINA | MIEL | CHARM II TEST | HPLC MSMS | 15 | 10 | 15
|  | CHLORTETRACICLINA | MIEL | CHARM II TEST | HPLC MSMS | 10 | 10 | 10
|  | STREPTOMICINA | MIEL |  | HPLC MS/MS |  | 5 | 5
|  | DEHIDROSTREPTOMICINA | MIEL |  | HPLC MS/MS |  | 5 | 5
| Nº DE MUESTRAS | ANALITO | MATRIZ | MÉTODO SCREENING | MÉTODO CONFIRMATORIO | LÍMITE DE DETECCIÓN DEL SCREENING [μg/Kg] | LÍMITE DE DETECCIÓN DEL MÉTODO CONFIRMATORIO [μg/Kg] | NIVEL DE ACCIÓN [μg/Kg]
PLAN
B2c CARBAMATOS | 7
|  | CARBARYL | MIEL |  | HPLC MSMS |  | 10 | 50
|  | METIOCARB | MIEL |  | HPLC MSMS |  | 10 | 50
B2c PIRETROIDES | 7
|  | FLUVALINATO | MIEL | GC/ECD | GC/MSMS | 2 | 2 | 10
FFLUMETRINA
B2f OTRAS SUSTANCIAS FARMACOLÓGICAMENTE ACTIVAS | 15
|  | FUMAGILINA | MIEL |  | HPLC MS/MS |  | 10 | 10
|  | AMITRAZ, DMF, DMPF | MIEL |  | HPLC MS/MS |  | 1 | 200
| Nº DE MUESTRAS | ANALITO | MATRIZ | MÉTODO SCREENING | MÉTODO CONFIRMATORIO | LÍMITE DE DETECCIÓN DEL SCREENING [μg/Kg] | LÍMITE DE DETECCIÓN DEL MÉTODO CONFIRMATORIO [μg/Kg] | NIVEL DE ACCIÓN [μg/Kg]
PLAN
B3a ORGANOCLORADOS Y PCB'S | 4
|  | HCB | MIEL | GC/ECD | GC/MSMS | 8 | 2 | 10
|  | αHCH | MIEL | GC/ECD | GC/MSMS | 8 | 2 | 10
|  | δ HCH | MIEL | GC/ECD | GC/MSMS | 2 | 2 | 10
|  | LINDANO | MIEL | GC/ECD | GC/MSMS | 2 | 2 | 10
|  | DDT Y metab. | MIEL | GC/ECD | GC/MSMS | 2 | 2 | 50
|  | DIELDRIN | MIEL | GC/ECD | GC/MSMS | 2 | 2 | 10
|  | ENDRIN | MIEL | GC/ECD | GC/MSMS | 2 | 2 | 10
|  | HEPTACLOR | MIEL | GC/ECD | GC/MSMS | 2 | 2 | 10
|  | HEPTACLOR epoxido | MIEL | GC/ECD | GC/MSMS | 2 | 2 | 10
|  | α,β ENDOSULFAN | MIEL | GC/ECD | GC/MSMS | 2 | 2 | 10
|  | ENDOSULFAN sulfato | MIEL | GC/ECD | GC/MSMS | 2 | 2 | 10
|  | CLORDANO cis-trans | MIEL | GC/ECD | GC/MSMS | 2 | 2 | 10
|  | PCB 28 | MIEL | GC/ECD | GC/MSMS | 8 | 1 | 10
|  | PCB 52 | MIEL | GC/ECD | GC/MSMS | 8 | 1 | 10
|  | PCB 101 | MIEL | GC/ECD | GC/MSMS | 8 | 1 | 10
|  | PCB 118 | MIEL | GC/ECD | GC/MSMS | 10 | 1 | 10
|  | PCB 153 | MIEL | GC/ECD | GC/MSMS | 10 | 1 | 10
|  | PCB 180 | MIEL | GC/ECD | GC/MSMS | 8 | 1 | 10
B3b ORGANOFOSFORADOS | 21
|  | CUMAFOS | MIEL | GC-ECD | HPLC MSMS | 2 | 1 | 100
B3c ELEMENTOS QUÍMICOS | 20
|  | PLOMO | MIEL |  | AAS |  | 60 | 60
|  | CADMIO | MIEL |  | AAS |  | 20 | 20
|  | ARSENICO | MIEL |  | AAS |  | 30 | 30
Total | 120